## D4- Database and TRL status
D4- Database updated including TRL status | Technology | Highest TRL for any target/matrix (including out of scope) | TRL for in-scope target 1 Norovirus | TRL for in-scope target 2 Campylobacter | TRL for in-scope target 3 Clostridium | TRL for in-scope target 4 Listeria | TRL for in-scope target 5 Salmonella | TRL for in-scope target 6 E. coli | TRL for in-scope matrix 1 water | TRL for in-scope matrix 2 meat | TRL for in-scope matrix 3 shellfish | TRL for in-scope matrix 4 dairy | TRL for in-scope matrix 5 swabs | TRL for in-scope matrix 6 animal feed | TRL for in-scope matrix 7 fish | TRL for in-scope matrix 8 fresh produce | TRL for in-scope matrix 9 RTE | Summarise advantages (e.g. tolerance of inhibitors, low cost, easy to use etc) | Summarise disadvantages (e.g. likelihood of false positives due to contamination etc) | Other necessary components | Target molecule (e.g. DNA, RNA etc) | Target-specific components (e.g. primers, antibodies etc) | Approx. analytical sensitivity (e.g. cells/CFU/ng DNA etc) | Summary of analytical specificity (e.g. discriminate between species, individual SNPs etc) | Approx. time to result | Throughput (e.g. samples per run etc) | Are there controls to indicate test failure? | Ability to multiplex | Commercially available kits/products? (give costs if known) | Kits for in-scope targets/matrices? | Summarise complexity of use/skills needed: manual dexterity (e.g. pipetting with precision); avoidance of contamination; multi-step or complex protocol; complex interpretation of results)
PCR based methods
| Insulated isothermal PCR (iiPCR) | 6 | 5 | 4 | 4 | 4 | 6 | 4 | [9 empty] | Sensitivity and specificity are broadly equivalent to real-time PCR. Sample to answer process all commercially available and can be supplied in a portable suitcase, results read out is simple to understand (+ or -). | Like PCR it does not tolerate inhibitors well and therefore requires a cleaner DNA extraction method. Only qualitative results. Requires some skill. | Nucleic acid extraction method (i.e. taco mini Automatic Nucleic Acid Extraction System); portable isothermal convection device which measures fluorescence signals (POCKIT device). | DNA or RNA (with addition of reverse transcriptase) | Primers | ~10 copies/reaction shown for multiple virus targets. 1000 CFU/g for Salmonella or 10 CFU/g with a 5 hr enrichment step. | Usually species. Norovirus genogroup. | 60 minutes (plus nucleic acid extraction) | 1-8 samples | Internal control assays included in all the commercially available kits. Can include standard positive and negative controls. | No | Yes | Norovirus GI and GII (with the POCKIT central machine). | Requires some liquid transfer steps with manual pipetting, but the DNA extraction device is automatic and the PCR reagents are supplied lyophilised in sample tubes and only need the addition of water and the sample. Simple qualitative display of results for easy interpretation.
| Integrated PCR | 9 (deployed in hospitals) | 4-5 | 4 | 4-5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | Easy to use, all components contained within the cartridge and machine so there should be a low risk of contamination. | High cost, reports in the literature of high rates of invalid results produced by the QC checks. Not portable. | None, it is a sample to answer system. | DNA or RNA (with addition of reverse transcriptase) | Primers | 12.5 - 25 copies/ml, 100-1000 CFU/ml | Species | 20-30 minutes, some machines 90 minutes | 1-16 sample | The commercial kits have internal controls which include QC checks on DNA extraction. If these fail the result will be reported as invalid. | Yes, a lot of the commercially available kits are multiplexed. | Yes | Clostridium difficile, Norovirus GI and GII for stool samples, and swabs are used for other pathogens. | Minimal sample processing or hands on time is required. You put the sample in the cartridge and then put it into the machine.
| Portable real-time PCR | 5-6 | 4 | 4-5 | 4-5 | 5-6 | 5-6 | 5 | [9 empty] | Sensitivity and specificity broadly equivalent to real-time PCR. Sample to answer process all commercially available. | Some processes require pre-enrichment step which makes the method around 24 hrs. Without enrichment processes has shown some indicators of being less efficient compared to standard DNA extraction kits. The results can be complex to interpret i.e. the same as real-time PCR. But you can program the machine with conditions so it interprets the results for you. | Nucleic acid extraction method, although this is provided in the kit. | DNA or RNA (with addition of reverse transcriptase) | Primers | Similar sensitivity to standard real-time PCR. | Species | 20-60 minutes (plus nucleic acid extraction) | Depends on the instrument | Internal control assays could be designed and implemented if needed. They are provided in the commercially available kits. Can include standard positive and negative controls | The real-time machine has 2-3 florescence channels for the target and the internal control. | Yes | Yes - they have kits of Salmonella spp., Listeria monocytogenes, E.coli O157, Campylobacter jejuni, Clostridium | Could be prone to contamination and results could require interpretation. The real-time instrument looks simple to operate from a mobile phone app.
| Solid-Phase PCR | 5 | 4 | 4 | 4 | 4 | 5 | 4 | [9 empty] | Good potential to multiplex. Potential to be integrated into a sample-to-answer microdevice. | To get rid of unbound fluorescence tags washing steps can be required which can lead to contamination issues. The SP-PCR can be inefficient and therefore can require a lot of optimisation for maximum sensitivity. | Nucleic acid extraction method, heating instrument, and may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers | 30-50 copies/ reaction | Used for SNP detection/ genotyping. | 60 minutes (plus DNA extraction) | 1 sample - but depends on the design of the device | Internal controls could be implemented. | Yes | No | No | Depends on all the components it is paired with, but would probably involve some pipetting to add the sample and PCR reagents.
| Continuous-flow PCR | 3 | 3 | 3 | 3 | 3 | 3 | 3 | [9 empty] | Has the potential to be very fast and does not need a thermocycler so there is the potential for a low cost device. There is the potential for a fully integrated sample-to answer device which would limit the chance of contamination. | The microfluidic device design can mean the number of cycles is fixed. The current design of serpentine channels can mean the device has quite a large surface area. Currently, the technology has not progressed to a fully integrated phase and therefore both DNA extraction and detection are often done off-chip leading to longer analysis time and limiting on-site use. | Nucleic acid extraction method, heating instrument, hot blocks and may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers | There are indications in the literature that it has lower sensitivity than PCR. 2500-3000 CFU. | Species | 3-30 minutes (plus nucleic acid extraction) | 1 sample | Internal controls could be implemented. | Could be possible depending on the read-out method. | No | No | Depends on all the components it is paired with, but would probably involve some pipetting to add the sample.
| PCR with LFD | 6 | 4 | 4 | 4 | 5 | 4 | 4 | [9 empty] | Higher sensitivity than other LFD based technologies, easy to read result, doesn't rely on the detection of antibodies which may not be present in early infection, easier to produce specific primers than specific antibodies/antigens | Requires DNA extraction and PCR prior to running the LFD (slower than other LFDs) | DNA extraction, PCR thermocycler | DNA or RNA (with addition of reverse transcriptase) | Primers and Antibody | 0.12 CFU/mL- 10^3 CFU/mL - variable | Species and sub-species. | 2 hours (plus nucleic acid extraction) | No limit | Control strip in LFD, can include standard positive and negative controls | Yes | No | No | Requires DNA extraction and PCR set up, accurate pipetting, avoidance of contamination. Simple interpretation of results.
| Plasmonic photothermal PCR | 4 (has been partially validated for COVID-19 detection) | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Has the potential for creation of a low cost and fast thermocycler. | Nanomaterials can cause issue by inhibiting the PCR reaction at high concentration through adsorption of the polymerase and primers and therefore a lot of optimisation will be needed in the design stage and it has the potential to have lower PCR efficiency. | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers | 3 copies DNA /µl | Species | 5-20 minutes (plus nucleic acid extraction) | In the prototypes usually 1 sample. But depends on the design of the system | Internal controls could be implemented. | Could be possible depending on the read-out method. | No | No | It will require some precision pipetting at a minimum. Read-out method can be simplified such as colorimetric or fluorescence readouts by eye.
Isothermal amplification based methods
| SEA/Strand Exchange Amplification with real-time fluorescence or colorimetric detection | 6 | 4 | 4 | 4 | 6 | 5 | 6 | [9 empty] | Fast and simple, modest equipment requirements, tolerates inhibitors (can detect target in crude extracts from raw faecal samples), generally less sensitive than real-time PCR. | False negatives may be an issue due to low sensitivity depending on detection method (i.e. visual vs spectrophotometric/fluorometric) | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers - one pair of F and R | 0.1-1 pM genomic DNA /1 colony / 1 - 1000 CFU/g meat (Listeria), 1 CFU/ml milk with 12 hrs enrichment, 3.6 pg/µl CPV, 2.9 copies ASFV or 5.8 copies/µl from nasal swabs. | Species | 1-2 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | No | No | Need to avoid contamination but simple protocol, some manual pipetting required, easy interpretation of increase in fluorescence or colour-change results.
| MCDA/Multiple Cross Displacement Amplification | 6 | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Quick results, modest equipment requirements, easy operation, and high specificity and sensitivity with correct primer design and optimisation. | Complex primer design. | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA | Primers - multiple | 100 - 250 fg DNA/reaction | Species | 1.5 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | No | No | Need to avoid contamination but simple protocol, some manual pipetting required, easy interpretation of increase in fluorescence or colour-change results
| NASBA/Nucleic acid sequence-based amplification | 5 | 4 | 4 | 4 | 5 | 5 | 5 | [9 empty] | Quick results, modest equipment requirements, sensitive. | Some indication that inhibition affects the amplification process. | RNA extraction method, heating instrument, may require instrument for detection depending on format. | RNA | Primers | Depends on the matrix and end point detection. 52aM – 91aM for RSV, E. coli ClpB RNA 25pM. Salmonella enterica 10 CFU per reaction. | Species | 1.5 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | No | No | Requires some pipetting skills (low volume liquid transfers), some methods require multiple steps, most methods have easy interpretation of results (mobile app used or colour change).
| RAA/Recombinase-Aided Amplification | 6 | 4 | 4 | 4 | 6 | 4 | 6 | [9 empty] | Easy to use, rapid results, sensitive and specific with correct primer design and optimisation, some evidence of tolerance to inhibition. | Complex primer design, multiple components in some cases | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers - multiple | 10 - 100 CFU/ml. With Cas12a down to 10aM - 1fm, Cas13a 1aM | Species | 1 - 1.5 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | No | No | Requires some pipetting skills (low volume liquid transfers), easy interpretation of results (if coupled with LFD).
| HDA/helicase-dependent amplification with colorimetric detection | 6 | 6 | 4 | 4 | 4 | 4 | 6 | [9 empty] | Easy to use. Easy to design primer. Rapid results. | Optimisation required for amplification temperature and primer concentration (for optimal colorimetric detection). | Nucleic acid extraction method, heating instrument. | DNA or RNA (with addition of reverse transcriptase) | Primers | Norovirus (GI & GII) Analytical Sensitivity: 101 copies mL−1 in standard buffer (nuclease-free water) and 102 copies g−1 in oyster artificially inoculated. | Species | 2 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | Yes. IsoAmp® III Enzyme Mix (BioHelix, Beverly, MA) - cost unknown | No | Requiring pipetting skills. Post amplification, there is a step to add hemin and TMB substrate to the amplified product for the colour development. Interpretation of result (colour development) can be done by naked eyes.
| HDA/helicase-dependent amplification with dipstick | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Compared to LFD antigen test, it is more sensitive for low viral load; lower false negative. Can be massively produced, cheap, simple and rapid detection in low-resource setting | Not easily automated; not suitable for high-throughput. | Nucleic acid extraction method, heating instrument. | DNA or RNA (with addition of reverse transcriptase) | Primers | SARS-CoV- 2 in clinical specimens detected at six copies μl−1 | Species | 2 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | No | Yes, IsoAmp III Universal tHDA kit (Quidel, USA) - cost unknown | No | Post amplification there is a step to mix amplicons with streptavidin-coated blue latex beads and developing buffer. The dipstick then dipped into the reaction mixture follow up visualisation of positive line by naked eyes.
| RPA/Recombinase polymerase amplification (fluorescence) | 5 | 5 | 4 | 4 | 5 | 5 | 5 | [9 empty] | Simplicity, selectivity, compatibility with other technologies and the possibility to run many samples and multiplex as well. | It often requires clean DNA extraction from kits and requires some skill to avoid contamination. | Nucleic acid extraction method, heating instrument, requires instrument for fluorescence detection. | DNA or RNA (with addition of reverse transcriptase) | Primers | 0.5 CFU, <0.1 ng, 1 copy per reaction | Species | 30-45 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | Yes, but it is highly dependent on target sequences, amplicon size and primer design | Yes, TwistAmp® RPA kits (372£) | No | The protocol seems simple and fast, will require some pipetting. Results interpretation is moderately simple but may require some training on the real-time instrument.
| RPA/Recombinase polymerase amplification + LFD | 6 | 4 | 6 | 4 | 6 | 6 | 5 | [9 empty] | Simplicity, selectivity. | It often requires clean DNA extraction from kits and requires some skill to avoid contamination. | Nucleic acid extraction method, heating instrument. | DNA or RNA (with addition of reverse transcriptase) | Primers | 0.5 CFU, <0.1 ng, 1 copy per reaction | Species | 30 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | Yes, but it is highly dependent on target sequences, amplicon size and primer design | Yes, TwistAmp® RPA kits (372£) | No | The protocol seems simple and fast. Results can be easily interpreted.
| Digital RPA/Recombinase polymerase amplification | 5 | 4 | 4 | 4 | 5 | 4 | 4 | [9 empty] | Good performance in complex fresh food matrices. Short detection time. Low temperatures required and good quality result. | It requires a fluorescence microscope and clean DNA extraction from kits. | Nucleic acid extraction method heating instrument. A fluorescence microscope is necessary. | DNA or RNA (with addition of reverse transcriptase) | Primers | 1 copy/μL | Species | 10 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | Yes, but it is highly dependent on target sequences, amplicon size and primer design | Yes, TwistAmp® RPA kits (372£) | No
| PSA/Polymerase Spiral Reaction | 5 | 4 | 4 | 4 | 5 | 5 | 4 | [9 empty] | Only 2 primers so assay design may be easier than LAMP. May tolerate crude extraction due to use of Bst. | Relatively complex, fairly long reaction time, sensitivity might not be acceptable without enrichment. | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Primers | Reported <1 fg for conventionally extracted NA. 103/104 CFU/g in spiked food matrices without enrichment (Qiagen DNA extraction) or 10-10CFU/g with 6 h enrichment. | Species | 60 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls | Not demonstrated | No | No | Same as other isothermal amplification methods, currently no automated or integrated test formats - so requires pipetting of small volumes, contamination control, etc.
| EXPAR | Linear Diagnostics POC test 6/7 Other assay configurations 5 | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Very flexible assay configuration, multiple read out approaches possible including fluorescence (including real-time), electrochemical, colorimetric. May be a good candidate for using in microfluidic systems. |  | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA, can also be applied to proteins and other molecules using alternative assay configurations and additional reagents. | Template oligonucleotide containing target-specific sequence. | RTF (reverse transcription -free)-EXPAR for SARS-CoV-2 reported analytical sensitivity of 420 copies/µl) . |  | Depends on assay configuration RTF-EXPAR and Linear Diagnostics kits ≤20 minutes. | No limit | Can include standard positive and negative controls | Yes | Linear Diagnostics POC test for Chlamydia trachomatis and Neisseria gonorrhoeae | None found | POC kit has simplified workflow and portable/low cost instrument. Other assays would require use of standard laboratory equipment.
| CAS-EXPAR (CRISPR Cas9 cleavage creates template for EXPAR) | 5 | 4 | 4 | 4 | 5 | 4 | 5 (AMR gene) | [9 empty] | High analytical sensitivity and specificity claimed. |  | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA | Template oligonucleotide containing target-specific sequence. | Reported as <1 amol DNA | Reported as single base discrimination | 60 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | Yes | No | No | Currently no automated or integrated tests so would require pipetting of small volumes, contamination control etc.
| Strand displacement amplification (SDA) | 8/9 (BD ProbeTec kits are intended for lab use but might be suitable for some non-lab settings) | 4 | 4 | 4 | 4 or 5 | 4 or 5 | 4 or 5 | [11 empty] | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Inner and outer (bump) primers. | Reported 50 copies/rxn target DNA; 700 CFU/ml Listeria. |  | 20-60 minutes (plus nucleic acid extraction). | No limit | Can include standard positive and negative controls. | Yes | Yes, BD ProbeTec (Chlamydia trachomatis, Neisseria gonorrhoeae). | None found | Same as other isothermal amplification methods, currently no automated or integrated test formats - so requires pipetting of small volumes, contamination control, etc
| Nicking enzyme amplification reaction (NEAR) | 9 | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | ID Now is an integrated system including samples preparation (swabs). Isothermal amplification (mechanism very similar to SDA) with molecular beacon fluorescence detection. | Not currently available for our in-scope pathogens. | None required | DNA or RNA (with addition of reverse transcriptase). | Inner and outer primers | Not specified | Not specified | <15 minutes | No limit |  |  | Yes (respiratory viruses, Strep A, for testing swabs) | No | Fully automated testing of swabs (throat/nasal/nasopharyngeal).
| Padlock probe-based rolling circle amplification (PLP-RCA) | 4 or 5 | 4 | 4 | 4 | 4 | 4 or 5 | 4 or 5 | [9 empty] | Advantage is the significant multiplexing potential. | Complex liquid handling due to multiple discrete steps performed sequentially. Ultimately requires integrated device (e.g. microfluidic system) to become suitable for non-laboratory use. | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA or RNA (with addition of reverse transcriptase) | Padlock probes, primer (primer may be target-independent) | Similar to PCR/real time PCR | Potential single base specificity | 1-3 hours (plus nucleic acid extraction). | No limit | Can include standard positive and negative controls. | Potential for multiplex detection of 10-100s of targets | No | No | Currently requires multiple pipetting steps, plus contamination control etc.
| Saltatory rolling circle amplification (SRCA) | 5 | 4 | 4 | 5 | 5 | 5 | 4 | [9 empty] | Simple assay design, compares favourably with real-time PCR in terms of analytical sensitivity (when testing conventionally extracted DNA). | Relatively long reaction time compared to other isothermal amplification methods. | Nucleic acid extraction method, heating instrument, may require instrument for detection depending on format. | DNA | Single pair of primers | Conventionally-extracted (Qiagen) DNA: 10-100 fg DNA); 10-100s CFU/g or ml bacterial targets in meat/milk without enrichment; <10 CFU/g or ml in meat/milk with 3-6 h enrichment | Species level assays reported | 60-75 minutes (plus nucleic acid extraction). | No limit | Can include standard positive and negative controls. | not demonstrated but would be possible | No | No | Same as other isothermal amplification methods, currently no automated or integrated test formats - requires pipetting of small volumes, contamination control, etc.
| Real-time LAMP (fluorescence) | 6 (instruments are commercially available but testing by relevant end users generally not has not been demonstrated) | 5 | 5 | 4 | 5 | 5 | 5 | [9 empty] | Rapid amplification, no post-amplification manipulations required. | May be prone to carry over contamination if appropriate precautions are not taken. May require enrichment to achieve required sensitivity. | Nucleic acid extraction method. Portable real-time LAMP instruments are commercially available (e.g. Optigene Genie II and III). | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6), probe in some formats | Can be <1 CFU/g or ml after enrichment | Species level assays | 20-60 minutes (plus nucleic acid extraction) | up to 16 reactions on Genie II | Can include standard positive and negative controls. | limited | Yes | No | In addition to sample prep/NA extraction, requires pipetting to set up reactions and add samples and contamination control.
| Real-time LAMP (turbidity) | 6 (instruments and kits are commercially available but testing by relevant end users generally has not been demonstrated) | 5 | 9 | 5 | 9 | 9 | 9 | [9 empty] | Rapid amplification, no post-amplification manipulations required. | May be prone to carry over contamination if appropriate precautions are not taken. May require enrichment to achieve required sensitivity. | Nucleic acid extraction method. Portable real-time turbidity readers are commercially available (e.g. Eiken Loopamp instrument). | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6) | Can be <1 CFU/g or ml after enrichment | Species level assays | 20-60 minutes (plus nucleic acid extraction) | Up to 16 reactions on Eiken LA-500 | Can include standard positive and negative controls. | No | Yes | Yes - Eiken Loopamp kits for Salmonella, E. coli, Listeria, Campylobacter | In addition to sample prep/NA extraction, requires pipetting to set up reactions and add samples and contamination control.
| LAMP with LFD read out | 6 | 4 | 5 | 5 | 5 | 5 | 5 | [9 empty] | Simple instrument free read out, less chance of ambiguous results than using colour change reactions. | Risk of contamination. | Nucleic acid extraction method, heating instrument. | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6), probe in some formats | Can be <1 CFU/g or ml after enrichment | Species level assays | 20-60 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | Yes | No | No | In addition to sample prep/NA extraction, requires pipetting to set up reactions and add samples and contamination control (especially if open tube format).
| LAMP with bioluminescence | 5 or 6 (MDS instrument and kits commercially available but intended for lab use) | 4 | 5 | 4 | 5 | 5 | 5 | [10 empty] | 3M MDS instrument is compact but intended for laboratory use only. | Nucleic acid extraction method. Instrument for detection. 3M Molecular Detection System is a platform for LAMP with bioluminescent detection (requires enrichment followed by simple sample prep). | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6), probe in some formats | Can be <1 CFU/g or ml after enrichment | Species level assays | Up to 60 minutes (plus nucleic acid extraction) | Up to 96 reactions on 3M MDS | Can include standard positive and negative controls. | No | Yes | Yes - 3M MDS kits for Salmonella, Listeria, E. coli, Campylobacter | Simple workflow, requires pipetting and contamination control
| LAMP with end point colorimetric read out (naked eye) e.g. metal ion indicators (e.g. hydroxynaphthol blue), pH indicators (e.g. phenol red) | 6 | 5 | 4 | 5 | 4 | 5 | 4 | [9 empty] | Instrument-free read out increases simplicity and reduces cost. | Addition of dyes after amplification poses a contamination risk (some including HNB and phenol red are added before amplification). | Nucleic acid extraction method, heating instrument. | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6) | Typically lower than other LAMP read out, may be ambiguous around limit of detection | Species level assays | 20-60 minutes (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | No | Yes e.g. Invitrogen SARS-CoV-2 Colorimetric ReadiLAMP kit (phenol red indicator) | No | Simple workflow, requires pipetting and contamination control.
| LAMP with electrochemical read out (e.g. methylene blue or other redox reporter | 3 to 5 | 3 to 5 | 3 to 5 | 3 to 5 | 3 to 5 | 3 to 5 | 3 to 5 | [10 empty] | Needs to be integrated into a simple device format. | Nucleic acid extraction method, heating instrument. Various approaches to electrochemical detection of LAMP or LAMP products using redox reporters such as methylene blue using custom/prototype chips/devices and/or benchtop instrumentation. | DNA or RNA (with addition of reverse transcriptase) | Primers (4-6), some formats may require additional target-specific probes or other components. |  | Species level assays |  | No limit | Can include standard positive and negative controls.
| Hybridisation chain reaction (HCR) with electrochemical readout | 5 | 4 | 4 | 5 | 5 | 4 | 4 | [9 empty] | Low cost, can be performed at room temperature. Has been shown to have high specificity. | Assay design can be complex to create an efficient reaction, need some equipment i.e. an electrochemical analyser. | Nucleic acid extraction method, electrochemical analyser. | DNA or RNA | DNA hairpin probe (in its most basic format) | 0.04 nM,1 CFU per g | Species, possible SNP discrimination | Average 2-4 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | No | No | No | Pipetting required, can be a multi-step process with different incubation stages, simple readout results interpretation.
| HCR with florescence readout | 5 | 4 | 4 | 4 | 4 | 5 | 4 | [9 empty] | Low cost, can be performed at room temperature. Has been shown to have high specificity. | Assay design can be complex to create an efficient reaction, needs some equipment for the florescence detection | Nucleic acid extraction method, fluorescence reader | DNA or RNA | DNA hairpin probe (in its most basic format) | 50 pM | Species, possible SNP discrimination | Average 2-4 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | No | No | No | Pipetting required, can be a multi-step process with different incubation stages, simple readout results interpretation.
| HCR with colorimetric readout | 5 | 4 | 4 | 4 | 5 | 5 | 5 | [9 empty] | Low cost, limited equipment needed, can be performed at room temperature. Has been shown to have high specificity. | Assay design can be complex to create an efficient reaction, slow reaction speed, and low sensitivity could be an issue. | Nucleic acid extraction method | DNA or RNA | DNA hairpin probe (in its most basic format) | 0.001-5 nM per reaction. 1x10^3 -1x10^5 CFU (very variable) | Species, possible SNP discrimination | Average 2-4 hours (plus nucleic acid extraction) | No limit | Can include standard positive and negative controls. | No | No | No | Pipetting required, can be a multi-step process with different incubation stages, simple colorimetric results interpretation.
Lateral flow devices (LFDs)
| LFDs with antibodies | 9 | 9 | 9 | 4 | 9 | 9 | 9 | 9 | 9 | 6 | 6 | 9 | 4 | 6 | 9 | 4 | Fast, easy to use, low cost, easy to read result. | Lower sensitivity than other methods, may give false negatives/positives, many of the commercially available kits require an enrichment step, mostly used as a qualitative test. | May require a sample preparation method . | Usually Antibody/antigen | Antibodies | Variable depending on situation. E.g. Salmonella 3.68 x10^4 -2.26 x10^9 | Species and possible sub-species | 30 minutes (plus any sample preparation method). | 1 sample | Control strip in LFD but not a true positive control. | Yes | Yes, kits for Salmonella (£8.40 per test), Listeria (£7.60 per test), Campylobacter, E. coli, Norovirus. | Yes | Minimal sample processing, little knowledge needed (some samples do require an extraction/enrichment step). Simple interpretation of results.
| LFDs with aptamers | 6 | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 6 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | Fast, aptamers have better specificity and flexibility than antibodies, low cost, easy to use. | Possibility for cross reactions and false positives, controls not fully convincing, low sensitivity. | May require a sample preparation method. | A range of molecular targets | Aptamer | High variability. E.g. E. coli 7.6 × 10^1 CFU/mL - 3 × 10^4 CFU/mL. Salmonella- f 4.1 × 10^2 CFU/mL - 5 × 10^3 CFU/mL. | Species | 15 minutes (plus any sample preparation method). | 1 sample | Control strip in LFD but not a true positive control. | Yes- but concerns over cross reactions | No | No | Little skill required (although depends on the extraction process). Simple interpretation of results.
| LFDs with upconversion nanoparticles | 6 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | Easy to use, rapid, high specificity, higher sensitivity than colloidal gold nanoparticles. | Lower sensitivity than other methods (e.g. PCR), need a device to read the result. | May require a sample preparation method. Needs a device to read the fluorescent signal. | Depends on LFD (antibody/antigen/nucleic acid) | Antibody/aptamer/antigen | Salmonella- 85 CFU/mL | Species | 30 minutes (plus any sample preparation method). | 1 sample | Control strip in LFD but not a true positive control. | Yes | No | No | Minimal sample processing, little knowledge needed to perform. Simple interpretation of results.
| LFDs with quantum dots | 6 | 4 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | Easy to use, rapid, high specificity, higher sensitivity than colloidal gold nanoparticles. | Lower sensitivity than other methods (e.g. PCR), need a device to read the result. | May require a sample preparation method. Needs a device to read the fluorescent signal. | Depends on LFD (antibody/antigen/nucleic acid) | Antibody/aptamer/antigen | Salmonella- 25 cells/mL | Species | 30 minutes (plus any sample preparation method) . | 1 sample | Control strip in LFD but not a true positive control. | Yes | No | No | Minimal sample processing, little knowledge needed to perform. Simple interpretation of results.
Surface Enhanced Raman Spectroscopy (SERS)
| SERS aptasensor | 6 | 4 | 4 | 5 | 5 | 5 | 5 | [9 empty] | High sensitivity and specificity, and ability to multiplex. Has the potential to be made quite quick and easy to use. Aptamers have advantages over antibodies in there ease of production, cost, reproducibility between batches. | Long aptamer incubation times could slow down the speed. Wash steps to remove unbound pathogen and then SERS tags could be prone to contamination. | Can be paired with a target extraction method to reduce interference from the sample matrix. Requires a SERS substrate functionalised with aptamers and a Raman reporter tag. Requires a portable Raman instrument with data processing capabilities. | Many: Whole cell, proteins, Nucleic acids | Aptamer | 10-100 CFU mL-1 | Species - Serotype shown for E. coli. | 60-180 minutes | Sample preparation has no limit - usually 1 sample throughput in a portable Raman instrument. | No | Yes, can easily multiplex with multiple different Raman reporters | No | No | May require some pipetting steps to add the aptamer conjugated nanoparticles and magnetic nanoparticles to the sample, the Raman reading step should be simple. The results interpretation could be complex and with involve some sort of chemometrics analysis - may be programmed into some instruments so that they can represent this as a simple result to the end user.
| SERS immunosensor | 6 | 5 | 4 | 4 | 4 | 5 | 5 | [9 empty] | High sensitivity and specificity, and ability to multiplex. Has the potential to be made quite quick and easy to use. | Long antibody incubation times could slow down the speed, antibodies can be expensive to produce and reduce the shelf life of a product. Wash steps to remove unbound pathogen and then SERS tags could be prone to contamination. | Can be paired with a target extraction method to reduce interference from the sample matrix. Requires a SERS substrate functionalised with antibodies and a Raman reporter tag. Requires a portable Raman instrument with data processing capabilities. | Antigen | Antibody | 10-1000 CFU/mL, 60 virus copies/mL. | Species | 30-120 minutes | Sample preparation has no limit - usually 1 sample throughput in a portable Raman instrument. | No | Yes, can, multiplex with multiple different Raman reporters | No | No | May require some pipetting steps to add the antibody conjugated nanoparticles and magnetic nanoparticles to the sample, the Raman reading step should be simple. The results interpretation could be complex and with involve some sort of chemometrics analysis - may be programmed into some instruments so that they can represent this as a simple result to the end user.
| SERS LFD | 6 | 4 | 5 | 5 | 5 | 5 | 5 | [9 empty] | Increase the sensitivity over traditional LFD, simple to use, easy to multiplex and gives quantitative results. | High capital investment for the Raman spectrometer. More complex results interpretation than traditional LFDs. SERS labels cant be produced at the same mass scale as LFDs. | May require a sample preparation method. Portable Raman spectrometer, and LFD with SERS label as the nanoparticles. | Wide range - nucleic acids, proteins, small molecules, whole cells | Antibody, antigen, nucleic acids | average around 0.1 ng/mL. 10- 100 CFU/mL. | Species | 10-45 minutes | Sample preparation has no limit - 1 sample throughput per LFD and in a portable Raman instrument. | No | Yes, can, multiplex with multiple different Raman reporters | No | No | Should be simple with minimal sample processing before the sample is applied to the LFD. Raman reading with a portable instrument should be simple, the results interpretation with the SERS spectra could be complex.
| SERS label free | 6 | 5 | 4 | 4 | 5 | 5 | 5 | [9 empty] | Non-targeted approach so could be used to pick up a wide range of potential pathogens. Can potentially be quick and simple to use. Has shown high sensitivity and specificity below the species level, however these studies are often done on pure cultures so it is less certain how it would perform in a complex matrix. | The method would require a lot of data before it is deployable i.e. a library of fingerprints of known pathogens - this may have to be specific to a matrix if this causes differences in the SERS spectra. Some databases are available for bacteria but they may be only from pure culture. The method may have limitations when in a complex matrix or when a mix of species are present in the sample. The protocol will probably be simple but any deviation in exposure time, incubation time, sample handling could affect the SERS spectra) - so robustness is an issue. | Can be paired with a target extraction method to reduce interference from the sample matrix. Requires a SERS substrate to apply the sample to. Require a portable Raman instrument with data processing capabilities. | Wide range - nucleic acids, proteins, small molecules, whole cells | None | 10-100 CFU/mL | Species and sub-species | 5-15 minutes (longer if paired with a target extraction method). | Sample preparation has no limit - usually 1 sample throughput in a portable Raman instrument. | No | Yes, it is an untargeted approach so in theory it could detect anything in a sample if they have different fingerprints. | Yes, as the label free method is not a targeted approach general consumables and portable instruments are available. (from ~£15 per test, instrument £25,000 - Ocean insight) | No | Minimal sample processing if no target extraction process is applied. Can be as simple as adding the sample to a liquid SERS solution or onto a solid support structure such as a slide coated with a SERS substrate and then placing it in the portable instrument for a reading. The results interpretation could be complex and with involve some sort of chemometrics analysis - may be programmed into some instruments so that they can represent this as a simple result to the end user.
Peptide based biosensors
| Synthetic peptides as binding element | 5 | 5 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Easy to use, no data about interference, inhibitors, etc. | Early stage | Biosensor format with gold-coated electrodes / impedance measuring instrument | Whole human Norovirus |  | 2.47 copies/mL | Shown against rotavirus | 90 minutes (plus virus extraction) | 1 at present | Yes | No | No | No | Norovirus extracted from sample by ISO method. Then, the sample is directly applied to the sensor and signal measured.
| Aptamer and peptide sandwich | 6 | 5 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Easy to use, no data about interference, inhibitors, etc. | Early stage | Electrochemical workstation | Whole human Norovirus | Aptamer and synthetic peptide | 0.84 copy/mL | 74% for HuNoV GII group, tested against rotavirus and coxsackievirus | 90 minutes | 1 at present | No | No | No | No | Simple, 1.5h process, minimal hands-on, although several washes required, no RNA extraction needed, electrochemical signal.
| Antimicrobial peptides (AMP) | 5 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | AMP bind to the surface of the pathogens, no need for lysis, extraction or complex sample prep. AMP are very stable and resistant to harsh conditions. | Research still needed to achieve specificity and sensitivity. | Many sensor formats, components and detection techniques. | Surface of pathogen | AMP, naturally existing | 10 - 106 CFU/mL | Very variable, some are species specific, many are selective for groups of species. | 90 minutes | Not defined | No | Yes | No | No | Generally simple, no extraction.
| Protease based | 4 | [5 empty] | 4 | 4 | [8 empty] | Easy, single tube reaction. No equipment needed | Enrichment required for sensitivity. | UV lamp helps, but not necessary. | OmpT from E.coli | Synthetic peptide with required cleavage point | 1−10 CFU/mL and 10^5 CFU/mL E. coli in 5.5 and 1 h enrichment, respectively | Only tested against strain B12, that does not express OmpT. | 6 hours including enrichment for 10 CFU/mL | Not defined | Yes | No | No | No | Easy, single tube reaction. No equipment needed, although enrichment required for sensitivity.
Biosensors
| LSPR immunosensor | 5 | 5 | 4 | 4 | 4 | 5 | 5 | 5 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | No need to do enrichment. Claims detection of E.coli live cells only. | Issues interpreting the colour change. pH slightly affected biosensor performance, but didn't affect LOD. | NA | Antigen | Antibodies | 10 CFU/mL | Species | 30 min - 3 hrs | 1 sample | No | No | No | No | Pipetting required; no extraction needed.
| Phage-based magnetoelastic biosensor | 5 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | Easy to use. Does not require sample preparation or enrichment. | Early stage. | NA | Bacteria | Bacteriophage long tail fibre (LTF) | NA | Species and strains | 5-10 minutes | 1 sample | No | Yes, potentially | No | No | It is a surface-scanning detector - pass over food surfaces for pathogen detection.
| Piezoelectric immunosensor (QCM) | 6 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | Highlighted low cost and out-of-lab work. | Requires a pre-enrichment step lasting 2 hrs. | Hot block for 37 °C incubation; centrifuge. | Antigen | Antibodies | Less than 10 CFU/mL | Species | <4 hr | 1 sample | No | No | No | No | Easy to use; uses syringe draws. States that there is no need for a skilled operator.
| Electrochemical immunosensor | 5 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | High sensitivity (possibility of detecting 1 cell per mL sample). Large dynamic range (above seven orders of magnitude). Low assay variability/ high reproducibility (RSD < 5%). High potential for miniaturisation . | Multiplexing requires a significant increase of complexity and cost. Stability of response is limited to >5 weeks even when stored at low temperature. Requires sample preparation. Antibodies are expensive, sample preparation involving multiple steps which could make it prone to contamination. | Sample preparation, Electrochemical analyser | Various | Antibodies | 10-1000 CFU/mL | Species | 30-120 minutes | 1 sample | No | Yes, potentially (Parallel detection of multiple pathogens requires complex electrode arrays, with significant costs in instrumentation and probes. ) | No | No | Electrochemical measurements are simple, result interpretation may be moderate, sample preparation to concentrate the target will usually be required and will be a multi-step process.
| Whole cell biosensors | 3 to 5 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 5 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 5 | 3 to 4 | 3 to 4 | 3 to 4 | 3 to 4 |  |  | Probably require enrichment. Some require transducer (electrochemical, optical etc) or development of a suitable read-out format. | Various (antigens/pathogen cells/quorum sensing molecules etc); some approaches allow selective detection of viable/virulent pathogen. | Modified/engineered cells | Variable; for bacterial targets probably require enrichment | Variable | Variable - minutes to hours (including enrichment) |  |  | No | No | No | Potential workflows unclear at this stage.
| Cell-based biosensor | 8 or 9 | 4 | 4 | 4 | 4 | 8 or 9 | 4 | 4 | 3 | 3 | 3 | 8 or 9 | 3 | 3 | 3 | 3 |  | Not available for most in scope pathogens; cost may be prohibitive. | Zephyr Identifier is sample in, answer out system. | Antigen | Modified B lymphocytes | 100 CFU Salmonella | unknown | 5 minutes | 1 sample |  | No | Yes | Yes | Automated system
Crude extraction methods
| Paper-based devices for crude extractions | 5 |  |  |  |  | 5 | 5 | 5 |  | 5 | 5 | [5 empty] | Paper-based devices are easy to fabricate and relatively low cost. They seem easy to use. | The nucleic acid extraction efficiency in paper-based sample preparation device is often questioned. Yield and purity are two of the challenges that paper-based methods face. The yield would primarily depend on the binding affinity between the paper membrane and nucleic acids, while the purity would depend on the specificity of the membrane to bind nucleic acids and not other components of the crude lysate. |  | DNA or RNA |  |  |  | 15-30 minutes | 1 sample |  |  | Yes, Whatman FTA card (£330-400 for 100 cards) and devices may have other costs | No | They do not require an external pump for fluid manipulation. In paper devices, liquids flow spontaneously due to capillary action. Thus, nucleic acid extraction, amplification, and detection can be easily integrated on a single paper device without manual sample transfer steps.
| Magnetic beads based devices for crude extractions | 6 | [6 empty] | 4 |  |  | 4 | 4 |  |  |  |  | With the correct products, the risk of cross-contamination during the process is low. The use of magnetic beads in the extraction of DNA or RNA eliminates the need for steps dependent on a centrifuge's availability. Magnetic bead separation can practically be done equipment-free. |  |  | DNA or RNA | [8 empty] | No | Proper liquid handling is crucial for manual or automated DNA or RNA extraction using magnetic beads. This is where proper pipetting techniques and having the right equipment count the most.
| Immunocapture prior to NA amplification or other test | 5 to 9 - some approaches suitable for field use (and deployable), others not optimised for field use | [15 empty] | Potential to significantly increase analytical sensitivity. May also be relatively easy to incorporate as an additional step in existing workflows. | May be time consuming and adds to complexity of handling. Depends on availability of suitable target-specific reagents. |  | Cells | Antibodies (or aptamers, other recognition elements)
Integrated devices
| Lab-on-a-chip/microfluidic chip or device | Some specific examples TRL 8 or 9 but most examples are prototype only, no higher than TRL 6 | 5 | 5 | 4 | 5 | 6 | 5 | [9 empty] | Depending on amplification/detection methods some devices can be low cost; fast and sensitive assays; all in one system; ability to multiplex on some devices | Depending on amplification/detection method cost per sample can be high, technical skill required and/or more equipment needed especially if not fully integrated. Commercialisation of microfluidic devices is costly and time consuming, so few examples have progressed to market. | Broad category - may need DNA extraction kit/equipment but there are some fully integrated LOC. Other equipment needed depends on the amplification/detection methods. Many detection methods involve a smartphone. | Nucleic acids, proteins, cells. | Depends on amplification method | Various | Species | Quickest is ~30 mins | Various dependent on the system design | Negative controls | Yes | Yes, Covid-19, TB, strep A, Cdiff, flu, monkeypox etc. on various portable instruments | None found | Very much depends on type of LOC. Fully integrated design would be the ideal for untrained staff working in the field. If the method requires separate sample prep/extraction then more skills needed.
| Photonic Integrated Circuits | 8 - used for porcine virus detection | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Any detection molecule can be used. Possible to detect from complex matrices. | Will require 'lab in a box' type construction | Some all in one systems have been designed | Any | Antibodies, aptamers, any recognition component | viruses 10^5 copies/ml | As specific as the detection molecule used. | 75 mins - aim is for 10 min | Various dependent on the system design |  | Yes | No | No | All in one 'boxes' designed to reduce skill level required
Other
| Non targeted /sequencing based methods - Nanopore | 6 | 4 | 5 | 4 | 5 | 5 | 5 | [9 empty] | Fast compared to standard sequencing or culturing. Identifies everything in a sample so one run could detect all bacteria or all viruses. | High cost, complex to use, prone to false negative results | DNA or RNA extraction methods; instruments for nucleic acid amplification and library prep, DNA quantification (Qubit), Sequencing (MinION + Laptop or MinION MK1C) | DNA or RNA | Library prep kits + enzymes, possibly primers | 4 x 106 viral load SARS CoV 2, 10 - 100 copies/µl Hantaan virus (HTNV), 1 infected tomato seed (bacteria) in 200, 10 copies/µl bacteria - depends on number of samples run and reads generated. | Species | Variable depending on library prep - 5-14 hours - 3 days including full run on MinION flow cell | 1 to 96 | Sequence data |  | Yes - £50 per sample | No | Requires precise pipetting. Prone to contamination. Extraction and library prep protocol may be complex. Sequence data needs complex/specialist analysis.
| ATP bioluminescence | 6 | 4 | 4 | 4 | 5 | 4 | 5-6 | [9 empty] | Here, different methods are evaluated, which have the advantage of a target pathogen, rather than general ATP bioluminescence methods, which cannot identify the bacteria detected. Easy to use. |  | Different methods assessed: ATP kits | ATP + various | Depends on method: phages, conjugated antibody (nanorods) |  | Species, some strain level | 36 min - nanorods + ATP bioluminescence, 10 min nano-lantern | 1 sample | No | No | No | No | Fast and simple - user-friendly, easy to interpret results
| VOC - smartphone based fingerprint | 6 | 4 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Cost-effective, non-invasive diagnosis, flexible design, ability to detect multiple targets | Complex design -need to first identify relevant markers (VOCs) to detect for target pathogen | None | VOCs | Markers (VOCs) released during infection | Limit of recognition (LOR), which varies depending on the library of analytes among which a specific target can be differentiated. LOR of the sensor array for differentiating main plant volatiles is between 5 and 2.5 ppm, about five to ten times higher than their LODs | Species | 20-60 min | 1 sample | No | Yes | No | No | User friendly, easy to use, minimal sample handling.
| ELISA | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 6? | 6 | 6 | 6 | 6 | 6 | 6 | Massive range of highly characterised antibodies (and an increasing number of aptamers) that could be applied in a suitable assay format. Lots of existing 'traditional' ELISA kits commercially available demonstrating the applicability of this technique | Current need for refrigeration of some components but this could likely be easily overcome by use of a suitable assay format (LFTs show that antibody / aptamer based assays are stable at room temperature). This would probably require a different signal amplification technique than enzyme activity to enhance suitability for in-field use. | Ability to read output (traditional ELISA uses plate reader) - more LFT like tests likely to be most use for in-field applications. Some require pre-enrichment of bacteria. | Proteins, antigen | Antibody / aptamer | With enrichment down to 1 CFU/ sample. | Species | With enrichment 24-48 h; without 2-4 h | 96 on traditional plate - more likely applicable to use in paper / paper-polymer substrate for which throughput would be lower. | Yes | Possibly | Yes (approx. £6 per test, not including capital equipment). | Yes | Traditional ELISA would require dextrous pipetting unless fully automated - paper / paper-polymer systems likely to be usable (more like LFT).
| Mass spectrometry | 5 | 4 | 4 | 4 | 5 | 5 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | Easy to use, rapid results | Optimisation required, sensitivity issues | Sampling device, portable mass spectrometer | Molecular ions | N/A |  | Species | Minutes | No limit | Negative controls | Yes | No | No | Minimal effort, no sample preparation.
| Toehold switch | 3 to 5 | 5 | 4 | 4 | 4 | 4 | 4 | [9 empty] | Potential to be incorporated into very low cost devices. |  | Sample preparation and read out device/strategy. Detection of nucleic acids may require amplification (e.g. NASBA, RPA, LAMP) in order to achieve acceptable levels of sensitivity. | DNA or RNA, can also be applied to detection of proteins and small molecules. | Toehold switch contains target-specific sequence. More complex schemes may require alternative or additional target-specific components. Target specific primers for pre-amplification if required. | Determined by amplification method. |  | Several hours | No limit | Potential to incorporate standard positive and negative controls | Maybe | No | No | Currently requires benchtop equipment.
| CRISPR-Cas-based systems (Cas9, Cas12, Cas 13) | 5 (commercially available kits for SARS-CoV-2 require lab equipment, not suitable for on-site use) | 5 | 5 | 4 | 5 | 5 | 5 | [9 empty] | Low cost, limited equipment required, easy to read formats available. Depends on the format, could be tolerant of inhibitors and easy to use. | Still early TRL, still a lot more needed to develop robust test kits. | Sample prep/Nucleic acid extraction. Hot block for incubation. May require amplification in order to achieve acceptable sensitivity (RPA, LAMP etc). Instrument/device for detection (various read-out options) | DNA or RNA | Primers for pre-amplification (if required) and crRNA | 1-10 copies viral RNA sequence | reported to achieve SNP discrimination | <1 hour | No limit | Can include standard positive and negative controls | Limited | Lab-based kits for SARS-CoV-2 include Feluda (£5/test, Cas9-based, PCR pre-amplification), SHERLOCK (Cas12-based, LAMP pre-amp) | No | Reports of single tube reactions. Pipetting required.
| Chemiluminescent probes | 8 or 9 | 4 | 4 | 4 | 8 or 9 | 8 or 9 | 8 or 9 | 4 | 4 | 4 | 5 (matrix lysis prior to enrichment reported for milk/yoghurt) but would require some lab equipment | 8 or 9 | 4 | 4 | 4 | 4 | Sensitivity compares favourably to real-time PCR. Specific detection of live bacteria. | Requires enrichment. | Kit contains swabs and enrichment media. Sample prep (lysis of matrix) if not testing swabs. | Bacterial enzymes | AquaSpark probe | 1-10 CFU /ml (with enrichment) |  | Enrichment + 10 minutes | No limit | Can run negative controls | No | N-Light kits (Nemis Technologies) - 7 euro per sample; starter kit (heat block, luminometer, kits) 2500 euro | Listeria, Salmonella, E. coli | Very simple protocol.
| Aptamer-based colorimetric assays using nanoparticles or chemiluminescence | 4 to 6 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | [9 empty] | Simple read out, can be very quick to perform | Very variable performance (especially analytical sensitivity) reported in the literature | Most approaches require production of custom functionalised nanoparticles (e.g. AuNP) or other complexes. Many currently use benchtop equipment (e.g. plate reader) and would need some modification for on-site use | Protein, toxin, whole cell | Aptamer | Variable - reports in literature are typically in range 10^2 - 10^5 CFU /ml | Typically species level detection | <1 h | No limit | Can run standard positive and negative controls | Maybe/limited | No | No | Require pipetting, may require use of instrument for detection.
| Aptamer-based assays with electrochemical detection | 4 to 6 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | 4 or 5 | [9 empty] | Can be quick to perform, potential to be integrated into simple/rapid device | Would need to be integrated into a simple device format to achieve potential for on-site use | Approaches to date have required production of custom electrodes and other components. | Protein, toxin, whole cells | Aptamer | Varies between systems, typically in range 10^3 - 10^5 CFU/ml | Typically species level detection | <1 hr | No limit | Can run standard positive and negative controls | Maybe/limited | No | No | Require pipetting, may require use of instrument for detection
Note on X11: Ines Vazquez: CPU - Canine parvovirus ASFV - African swine fever virus
Note on X13: Ines Vazquez: RSV - Respiratory syncytial virus
Note on Y48: Ines Vazquez: HuNoV - Human norovirus